Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303.571.3284

Donna.L.George@xcelenergy.com

July 6, 2023

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO 80120

Attn:	Jerad Chipman

Re: 	700 West Mineral Avenue Rezone and Site Plan, Case #s AMF23-0002 and REZ23-0002

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has reviewed the request for the Reata West Rezone. Please be advised that Public Service Company existing natural gas service, intermediate pressure natural gas distribution, and underground electric distribution facilities in various areas within this proposed rezone. Public Service Company has no objection to this proposed rezone, contingent upon PSCo’s ability to maintain all existing rights and this amendment should not hinder our ability for future expansion, including all present and any future accommodations for natural gas transmission and electric transmission related facilities, and that our current use/enjoyment of the area would continue to be an accepted use on the property and that it be “grandfathered” into these changes.

For future planning and to ensure that adequate utility easements are available within this development and per state statutes §31-23-214 (3) and 30-28-133(e), PSCo requests that the following language or plat note be placed on the preliminary and final plats for the subdivision:

Minimum 10-foot-wide dry utility easements are hereby dedicated on private property abutting all public streets, and around the perimeter of each lot in the subdivision or platted area including tracts, parcels and/or open space areas. These easements are dedicated to the City of Littleton for the benefit of the applicable utility providers for the installation, maintenance, and replacement of electric, gas, television, cable, and telecommunications facilities (Dry Utilities). Utility easements shall also be granted within any access easements and private streets in the subdivision. Permanent structures, improvements, objects, buildings, wells, water meters and other objects that may interfere with the utility facilities or use thereof (Interfering Objects) shall not be permitted within said utility easements and the utility providers, as grantees, may remove any Interfering Objects at no cost to such grantees, including, without limitation, vegetation. Public Service Company of Colorado (PSCo) and its successors reserve the right to require additional easements and to require the property owner to grant PSCo an easement on its standard form.

Public Service Company also requests that all utility easements be depicted graphically on the preliminary and final plats. While these easements may accommodate certain utilities to be installed in the subdivision, some additional easements may be required as planning and building progresses.

The property owner/developer/contractor must complete the application process for any new natural gas or electric service, or modification to existing facilities via xcelenergy.com/InstallAndConnect. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details.

Additional easements will need to be acquired by separate document for new facilities (i.e. transformers) – be sure to have the Designer contact a Right-of-Way and Permits Agent.

As a safety precaution, PSCo would like to remind the developer to contact Colorado 811 for utility locates prior to construction.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  Donna.L.George@xcelenergy.com