Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303. 571. 3284

donna.l.george@xcelenergy.com

May 24, 2022

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO 80120

Attn:  	Zareen Tasneem

Re:  	Quiktrip No. 4237, Case #s APL22-0003 / SIP22-0002 / CDU22-0001

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has reviewed the plat, plan and conditional use documentation for Quiktrip No. 4237 and requests that the two (2) electric switching cabinets in the northwest corner of the property are shown more prominently on the plan set, particularly in relation to the planned sign.

Please be aware PSCo owns and operates existing natural gas and electric distribution/ service facilities within the subject property. The property owner/developer/contractor must complete the application process for any new natural gas or electric service, or modification to existing facilities including relocation and/or removal via xcelenergy.com/InstallAndConnect. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details.

For additional easements that may need to be acquired by separate document (for example, transformer), the Designer must contact a Right-of-Way and Permits Agent.

As a safety precaution, PSCo would like to remind the developer to call the Utility Notification Center by dialing 811 for utility locates prior to construction.

Comment response requested.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  donna.l.george@xcelenergy.com