Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303. 571. 3284

donna.l.george@xcelenergy.com

May 19, 2022

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO 80120

Attn:  	Todd Hager

Re:  	Littleton Adventist Hospital Revision to Parking Lot, Case # MAPA22-0002

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has reviewed the minor plan amendment for Littleton Adventist Hospital Revision to Parking Lot. Please be aware PSCo owns and operates existing underground electric distribution facilities within the area of the parking lot reconfiguration. Note that proper clearances must be maintained including ground cover that should not be modified from original depths. Contact the Utility Notification Center of Colorado before excavating. Use caution and hand dig when excavating within 18-inches of each side of the marked facilities. Please also be aware that all risk and responsibility for this request are unilaterally that of the Applicant/Requestor.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  donna.l.george@xcelenergy.com