Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303. 571. 3284

donna.l.george@xcelenergy.com

June 3, 2022

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO 80120

Attn:  	Todd Hager

Re:  	Littleton Adventist Hospital (LAH) Heart and Vascular Addition

Case #s MAPA22-0003 and MIPA22-0010

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has reviewed the documentation for LAH Heart and Vascular Addition and has potential conflicts. Please be aware PSCo owns and operates existing underground electric and intermediate pressure natural gas distribution facilities in the areas of the proposed building expansion and structured parking. PSCo requests that these utilities are shown on the plans in relation to the proposed improvements. Please note that structures cannot be located over underground gas and electric facilities.

As a safety precaution, PSCo would like to remind the developer to call the Utility Notification Center by dialing 811 for utility locates prior to construction. Use caution and hand dig when excavating within 18-inches of each side of the marked facilities. Please be aware that all risk and responsibility for this request are unilaterally that of the Applicant/Requestor.

Should the project require any new natural gas or electric service or modification to existing facilities, the property owner/developer/contractor must complete the application process via xcelenergy.com/InstallAndConnect.

If additional easements need to be acquired by separate PSCo document, a Right-of-Way Agent will need to be contacted.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  donna.l.george@xcelenergy.com