Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303.571.3284

Donna.L.George@xcelenergy.com

October 2, 2023

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO 80120

Attn:	Jerad Chipman

Re:  	Embrey Mineral Master Development Plan, Case # MDP23-0005

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has determined there is a conflict with Embrey Mineral Master Development Plan. Please be aware PSCo owns and operates existing underground electric distribution facilities in a north-south direction through the west area of the subject property. PSCo requests these utilities are shown on the plan, particularly in relation to planned buildings.

The property owner/developer/contractor must complete the application process for any new natural gas or electric service, or modification to existing facilities including relocation and/or removal via xcelenergy.com/InstallAndConnect. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details.

Additional easements will need to be acquired by separate document for new facilities (i.e. transformers) – be sure to have the Designer contact a Right-of-Way and Permits Agent.

As a safety precaution, PSCo would like to remind the developer to contact Colorado 811 for utility locates prior to construction.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  Donna.L.George@xcelenergy.com