Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303.571.3284

donna.l.george@xcelenergy.com

February 23, 2024

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO 80120

Attn:	Jerad Chipman

Re:  	700 West Mineral Avenue - Mineral Town Center Subdivision Filing No. 1 – Costco

Case #s MAJ23-0007 / MDP23-0005 / SIP24-0001

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has reviewed the plat for 700 West Mineral Avenue - Mineral Town Center F1. There have been discussions regarding utility easements abutting all property lines. Please note that compressing the landscaping into one side of a 15-foot area is acceptable for most of the lot lines, with exception of the lot line along West Mineral Avenue where 15-feet with no trees is needed due to an electric feeder line, switch cabinet and vaults adjacent to this public right-of-way.

Please be aware PSCo owns and operates existing natural gas and electric distribution facilities within and around the perimeter of the subject property. The property owner/developer/ contractor must complete the application process for any new natural gas or electric service, or modification to existing facilities via xcelenergy.com/InstallAndConnect. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details.

For additional easements that may need to be acquired by separate PSCo document for new facilities (i.e. transformer), the Designer must contact a Right-of-Way Agent.

As a safety precaution, PSCo would like to remind the developer to contact Colorado 811 for utility locates prior to construction.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  donna.l.george@xcelenergy.com