Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303. 571. 3284

donna.l.george@xcelenergy.com

May 19, 2022

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO 80120

Attn:  	Todd Hager

Re:  	Cherry Cricket Littleton Restaurant, Case # SIP22-0003

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has reviewed the site improvement plan for Cherry Cricket Littleton Restaurant. Please be aware PSCo owns and operates existing natural gas and electric distribution and service facilities throughout the subject property. Please note that per the National Electric Safety Code, a minimum 10-foot radial clearance must be maintained at all times from all overhead electric facilities including, but not limited to, construction activities and permanent structures, particularly in the area of the new burger garden in relation to the existing area lighting.

Should the project require any new natural gas or electric service or modification to existing facilities, the property owner/developer/contractor must complete the application process via xcelenergy.com/InstallAndConnect.

As a safety precaution, PSCo would like to remind the developer to call the Utility Notification Center by dialing 811 for utility locates prior to construction.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  donna.l.george@xcelenergy.com